This document is for reference only.  Detailed fire safety requirements will be separately issued subject to the result of on-site assessment.

FIRE SERVICES DEPARTMENT

Fire Safety Requirements for

Outside Seating Accommodation (OSA)

| 1. | The OSA should not be situated within 6 metres from any dangerous goods store or installation, or within 1.5 metres from any fire hydrant, ground valve or notice plate for fire service installation / emergency vehicular access. |
| --- | --- |
| 2. | The OSA should not cause obstruction to any emergency vehicular access and operation of fire services aerial appliance or equipment. |
| 3. | The OSA should not cause obstruction to any building fire service installation. |
| 4. | No heating activity involving naked flame for cooking/food warming is permitted inside the OSA. |
| 5. | 9-litre CO2/water fire extinguisher should be provided inside the OSA. |

Fire Services Department

This document is for reference only.  Detailed fire safety requirements will be separately issued subject to the result of on-site assessment.